|  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Facility | Sample Point | Sampling Event | | Lab | Sample ID | Collection Date | | Method | Analyte | Result µg/L | |
| 00003 | 0035003 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-01 | 7/8/24 | | 200.7 | lithium | < MRL | |
| 00003 | 0035003 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-01 | 7/8/24 | | 537.1 | NEtFOSAA | < MRL | |
| 00003 | 0035003 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-01 | 7/8/24 | | 537.1 | NMeFOSAA | < MRL | |
| 00003 | 0035003 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-01 | 7/8/24 | | 537.1 | PFTA | < MRL | |
| 00003 | 0035003 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-01 | 7/8/24 | | 537.1 | PFTrDA | < MRL | |
| 00004 | 0035004 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-03 | 7/8/24 | | 200.7 | lithium | < MRL | |
| 00004 | 0035004 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-03 | 7/8/24 | | 533 | 11Cl-PF3OUdS | < MRL | |
| 00004 | 0035004 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-03 | 7/8/24 | | 533 | 4:2 FTS | < MRL | |
| 00004 | 0035004 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-03 | 7/8/24 | | 533 | 6:2 FTS | < MRL | |
| 00004 | 0035004 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-03 | 7/8/24 | | 533 | 8:2 FTS | < MRL | |
| 00004 | 0035004 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-03 | 7/8/24 | | 533 | 9Cl-PF3ONS | < MRL | |
| 00004 | 0035004 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-03 | 7/8/24 | | 533 | ADONA | < MRL | |
| 00004 | 0035004 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-03 | 7/8/24 | | 533 | HFPO-DA | < MRL | |
| 00004 | 0035004 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-03 | 7/8/24 | | 533 | NFDHA | < MRL | |
| Facility | Sample Point | Sampling Event | | Lab | Sample ID | Collection Date | | Method | Analyte | Result µg/L | |
| 00004 | 0035004 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-03 | 7/8/24 | | 533 | PFBA | < MRL | |
| 00004 | 0035004 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-03 | 7/8/24 | | 533 | PFBS | < MRL | |
| 00004 | 0035004 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-03 | 7/8/24 | | 533 | PFDA | < MRL | |
| 00004 | 0035004 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-03 | 7/8/24 | | 533 | PFDoA | < MRL | |
| 00004 | 0035004 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-03 | 7/8/24 | | 533 | PFEESA | < MRL | |
| 00004 | 0035004 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-03 | 7/8/24 | | 533 | PFHpA | < MRL | |
| 00004 | 0035004 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-03 | 7/8/24 | | 533 | PFHpS | < MRL | |
| 00004 | 0035004 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-03 | 7/8/24 | | 533 | PFHxA | < MRL | |
| 00004 | 0035004 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-03 | 7/8/24 | | 533 | PFHxS | < MRL | |
| 00004 | 0035004 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-03 | 7/8/24 | | 533 | PFMBA | < MRL | |
| 00004 | 0035004 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-03 | 7/8/24 | | 533 | PFMPA | < MRL | |
| 00004 | 0035004 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-03 | 7/8/24 | | 533 | PFNA | < MRL | |
| 00004 | 0035004 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-03 | 7/8/24 | | 533 | PFOA | < MRL | |
| 00004 | 0035004 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-03 | 7/8/24 | | 533 | PFOS | < MRL | |
| Facility | Sample Point | Sampling Event | | Lab | Sample ID | Collection Date | | Method | Analyte | Result µg/L | |
| 00004 | 0035004 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-03 | 7/8/24 | | 533 | PFPeA | < MRL | |
| 00004 | 0035004 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-03 | 7/8/24 | | 533 | PFPeS | < MRL | |
| 00004 | 0035004 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-03 | 7/8/24 | | 533 | PFUnA | < MRL | |
| 00004 | 0035004 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-03 | 7/8/24 | | 537.1 | NEtFOSAA | < MRL | |
| 00004 | 0035004 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-03 | 7/8/24 | | 537.1 | NMeFOSAA | < MRL | |
| 00004 | 0035004 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-03 | 7/8/24 | | 537.1 | PFTA | < MRL | |
| 00004 | 0035004 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-03 | 7/8/24 | | 537.1 | PFTrDA | < MRL | |
| 00005 | 0035005 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-05 | 7/8/24 | | 200.7 | lithium | < MRL | |
| 00005 | 0035005 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-05 | 7/8/24 | | 533 | 11Cl-PF3OUdS | < MRL | |
| 00005 | 0035005 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-05 | 7/8/24 | | 533 | 4:2 FTS | < MRL | |
| 00005 | 0035005 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-05 | 7/8/24 | | 533 | 6:2 FTS | < MRL | |
| 00005 | 0035005 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-05 | 7/8/24 | | 533 | 8:2 FTS | < MRL | |
| 00005 | 0035005 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-05 | 7/8/24 | | 533 | 9Cl-PF3ONS | < MRL | |
| 00005 | 0035005 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-05 | 7/8/24 | | 533 | ADONA | < MRL | |
| Facility | Sample Point | Sampling Event | | Lab | Sample ID | Collection Date | | Method | Analyte | Result µg/L | |
| 00005 | 0035005 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-05 | 7/8/24 | | 533 | HFPO-DA | < MRL | |
| 00005 | 0035005 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-05 | 7/8/24 | | 533 | NFDHA | < MRL | |
| 00005 | 0035005 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-05 | 7/8/24 | | 533 | PFBA | < MRL | |
| 00005 | 0035005 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-05 | 7/8/24 | | 533 | PFBS | < MRL | |
| 00005 | 0035005 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-05 | 7/8/24 | | 533 | PFDA | < MRL | |
| 00005 | 0035005 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-05 | 7/8/24 | | 533 | PFDoA | < MRL | |
| 00005 | 0035005 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-05 | 7/8/24 | | 533 | PFEESA | < MRL | |
| 00005 | 0035005 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-05 | 7/8/24 | | 533 | PFHpA | < MRL | |
| 00005 | 0035005 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-05 | 7/8/24 | | 533 | PFHpS | < MRL | |
| 00005 | 0035005 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-05 | 7/8/24 | | 533 | PFHxA | < MRL | |
| 00005 | 0035005 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-05 | 7/8/24 | | 533 | PFHxS | < MRL | |
| 00005 | 0035005 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-05 | 7/8/24 | | 533 | PFMBA | < MRL | |
| 00005 | 0035005 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-05 | 7/8/24 | | 533 | PFMPA | < MRL | |
| 00005 | 0035005 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-05 | 7/8/24 | | 533 | PFNA | < MRL | |
| Facility | Sample Point | Sampling Event | | Lab | Sample ID | Collection Date | | Method | Analyte | Result µg/L | |
| 00005 | 0035005 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-05 | 7/8/24 | | 533 | PFOA | < MRL | |
| 00005 | 0035005 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-05 | 7/8/24 | | 533 | PFOS | < MRL | |
| 00005 | 0035005 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-05 | 7/8/24 | | 533 | PFPeA | < MRL | |
| 00005 | 0035005 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-05 | 7/8/24 | | 533 | PFPeS | < MRL | |
| 00005 | 0035005 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-05 | 7/8/24 | | 533 | PFUnA | < MRL | |
| 00005 | 0035005 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-05 | 7/8/24 | | 537.1 | NEtFOSAA | < MRL | |
| 00005 | 0035005 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-05 | 7/8/24 | | 537.1 | NMeFOSAA | < MRL | |
| 00005 | 0035005 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-05 | 7/8/24 | | 537.1 | PFTA | < MRL | |
| 00005 | 0035005 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-05 | 7/8/24 | | 537.1 | PFTrDA | < MRL | |
| 00006 | 0035006 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-07 | 7/8/24 | | 200.7 | lithium | < MRL | |
| 00006 | 0035006 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-07 | 7/8/24 | | 533 | 11Cl-PF3OUdS | < MRL | |
| 00006 | 0035006 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-07 | 7/8/24 | | 533 | 4:2 FTS | < MRL | |
| 00006 | 0035006 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-07 | 7/8/24 | | 533 | 6:2 FTS | < MRL | |
| 00006 | 0035006 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-07 | 7/8/24 | | 533 | 8:2 FTS | < MRL | |
| Facility | Sample Point | Sampling Event | | Lab | Sample ID | Collection Date | | Method | Analyte | Result µg/L | |
| 00006 | 0035006 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-07 | 7/8/24 | | 533 | 9Cl-PF3ONS | < MRL | |
| 00006 | 0035006 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-07 | 7/8/24 | | 533 | ADONA | < MRL | |
| 00006 | 0035006 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-07 | 7/8/24 | | 533 | HFPO-DA | < MRL | |
| 00006 | 0035006 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-07 | 7/8/24 | | 533 | NFDHA | < MRL | |
| 00006 | 0035006 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-07 | 7/8/24 | | 533 | PFBA | < MRL | |
| 00006 | 0035006 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-07 | 7/8/24 | | 533 | PFBS | < MRL | |
| 00006 | 0035006 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-07 | 7/8/24 | | 533 | PFDA | < MRL | |
| 00006 | 0035006 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-07 | 7/8/24 | | 533 | PFDoA | < MRL | |
| 00006 | 0035006 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-07 | 7/8/24 | | 533 | PFEESA | < MRL | |
| 00006 | 0035006 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-07 | 7/8/24 | | 533 | PFHpA | < MRL | |
| 00006 | 0035006 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-07 | 7/8/24 | | 533 | PFHpS | < MRL | |
| 00006 | 0035006 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-07 | 7/8/24 | | 533 | PFHxA | < MRL | |
| 00006 | 0035006 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-07 | 7/8/24 | | 533 | PFHxS | < MRL | |
| 00006 | 0035006 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-07 | 7/8/24 | | 533 | PFMBA | < MRL | |
| Facility | Sample Point | Sampling Event | | Lab | Sample ID | Collection Date | | Method | Analyte | Result µg/L | |
| 00006 | 0035006 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-07 | 7/8/24 | | 533 | PFMPA | < MRL | |
| 00006 | 0035006 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-07 | 7/8/24 | | 533 | PFNA | < MRL | |
| 00006 | 0035006 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-07 | 7/8/24 | | 533 | PFOA | < MRL | |
| 00006 | 0035006 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-07 | 7/8/24 | | 533 | PFOS | < MRL | |
| 00006 | 0035006 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-07 | 7/8/24 | | 533 | PFPeA | < MRL | |
| 00006 | 0035006 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-07 | 7/8/24 | | 533 | PFPeS | < MRL | |
| 00006 | 0035006 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-07 | 7/8/24 | | 533 | PFUnA | < MRL | |
| 00006 | 0035006 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-07 | 7/8/24 | | 537.1 | NEtFOSAA | < MRL | |
| 00006 | 0035006 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-07 | 7/8/24 | | 537.1 | NMeFOSAA | < MRL | |
| 00006 | 0035006 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-07 | 7/8/24 | | 537.1 | PFTA | < MRL | |
| 00006 | 0035006 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-07 | 7/8/24 | | 537.1 | PFTrDA | < MRL | |
| 00007 | 0035007 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-09 | 7/8/24 | | 200.7 | lithium | < MRL | |
| 00007 | 0035007 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-09 | 7/8/24 | | 533 | 11Cl-PF3OUdS | < MRL | |
| 00007 | 0035007 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-09 | 7/8/24 | | 533 | 4:2 FTS | < MRL | |
| Facility | Sample Point | Sampling Event | | Lab | Sample ID | Collection Date | | Method | Analyte | Result µg/L | |
| 00007 | 0035007 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-09 | 7/8/24 | | 533 | 6:2 FTS | < MRL | |
| 00007 | 0035007 | SE2 | | Microbac Laboratories, Inc. - Marietta | M4F0678-09 | 7/8/24 | | 533 | 8:2 FTS | < MRL | |
| 00007 | 0035007 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-09 | 7/8/24 | 533 | | 9Cl-PF3ONS | | < MRL |
| 00007 | 0035007 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-09 | 7/8/24 | 533 | | ADONA | | < MRL |
| 00007 | 0035007 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-09 | 7/8/24 | 533 | | HFPO-DA | | < MRL |
| 00007 | 0035007 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-09 | 7/8/24 | 533 | | NFDHA | | < MRL |
| 00007 | 0035007 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-09 | 7/8/24 | 533 | | PFBA | | < MRL |
| 00007 | 0035007 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-09 | 7/8/24 | 533 | | PFBS | | < MRL |
| 00007 | 0035007 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-09 | 7/8/24 | 533 | | PFDA | | < MRL |
| 00007 | 0035007 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-09 | 7/8/24 | 533 | | PFDoA | | < MRL |
| 00007 | 0035007 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-09 | 7/8/24 | 533 | | PFEESA | | < MRL |
| 00007 | 0035007 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-09 | 7/8/24 | 533 | | PFHpA | | < MRL |
| 00007 | 0035007 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-09 | 7/8/24 | 533 | | PFHpS | | < MRL |
| 00007 | 0035007 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-09 | 7/8/24 | 533 | | PFHxA | | < MRL |
| Facility | Sample Point | Sampling Event | Lab | | Sample ID | Collection Date | Method | | Analyte | | Result µg/L |
| 00007 | 0035007 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-09 | 7/8/24 | 533 | | PFHxS | | < MRL |
| 00007 | 0035007 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-09 | 7/8/24 | 533 | | PFMBA | | < MRL |
| 00007 | 0035007 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-09 | 7/8/24 | 533 | | PFMPA | | < MRL |
| 00007 | 0035007 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-09 | 7/8/24 | 533 | | PFNA | | < MRL |
| 00007 | 0035007 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-09 | 7/8/24 | 533 | | PFOA | | < MRL |
| 00007 | 0035007 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-09 | 7/8/24 | 533 | | PFOS | | < MRL |
| 00007 | 0035007 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-09 | 7/8/24 | 533 | | PFPeA | | < MRL |
| 00007 | 0035007 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-09 | 7/8/24 | 533 | | PFPeS | | < MRL |
| 00007 | 0035007 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-09 | 7/8/24 | 533 | | PFUnA | | < MRL |
| 00007 | 0035007 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-09 | 7/8/24 | 537.1 | | NEtFOSAA | | < MRL |
| 00007 | 0035007 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-09 | 7/8/24 | 537.1 | | NMeFOSAA | | < MRL |
| 00007 | 0035007 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-09 | 7/8/24 | 537.1 | | PFTA | | < MRL |
| 00007 | 0035007 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-09 | 7/8/24 | 537.1 | | PFTrDA | | < MRL |
| 00008 | 0035008 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-11 | 7/8/24 | 200.7 | | lithium | | < MRL |
| Facility | Sample Point | Sampling Event | Lab | | Sample ID | Collection Date | Method | | Analyte | | Result µg/L |
| 00008 | 0035008 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-11 | 7/8/24 | 533 | | 11Cl-PF3OUdS | | < MRL |
| 00008 | 0035008 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-11 | 7/8/24 | 533 | | 4:2 FTS | | < MRL |
| 00008 | 0035008 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-11 | 7/8/24 | 533 | | 6:2 FTS | | < MRL |
| 00008 | 0035008 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-11 | 7/8/24 | 533 | | 8:2 FTS | | < MRL |
| 00008 | 0035008 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-11 | 7/8/24 | 533 | | 9Cl-PF3ONS | | < MRL |
| 00008 | 0035008 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-11 | 7/8/24 | 533 | | ADONA | | < MRL |
| 00008 | 0035008 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-11 | 7/8/24 | 533 | | HFPO-DA | | < MRL |
| 00008 | 0035008 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-11 | 7/8/24 | 533 | | NFDHA | | < MRL |
| 00008 | 0035008 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-11 | 7/8/24 | 533 | | PFBA | | < MRL |
| 00008 | 0035008 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-11 | 7/8/24 | 533 | | PFBS | | < MRL |
| 00008 | 0035008 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-11 | 7/8/24 | 533 | | PFDA | | < MRL |
| 00008 | 0035008 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-11 | 7/8/24 | 533 | | PFDoA | | < MRL |
| 00008 | 0035008 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-11 | 7/8/24 | 533 | | PFEESA | | < MRL |
| 00008 | 0035008 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-11 | 7/8/24 | 533 | | PFHpA | | < MRL |
| Facility | Sample Point | Sampling Event | Lab | | Sample ID | Collection Date | Method | | Analyte | | Result µg/L |
| 00008 | 0035008 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-11 | 7/8/24 | 533 | | PFHpS | | < MRL |
| 00008 | 0035008 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-11 | 7/8/24 | 533 | | PFHxA | | < MRL |
| 00008 | 0035008 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-11 | 7/8/24 | 533 | | PFHxS | | < MRL |
| 00008 | 0035008 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-11 | 7/8/24 | 533 | | PFMBA | | < MRL |
| 00008 | 0035008 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-11 | 7/8/24 | 533 | | PFMPA | | < MRL |
| 00008 | 0035008 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-11 | 7/8/24 | 533 | | PFNA | | < MRL |
| 00008 | 0035008 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-11 | 7/8/24 | 533 | | PFOA | | < MRL |
| 00008 | 0035008 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-11 | 7/8/24 | 533 | | PFOS | | < MRL |
| 00008 | 0035008 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-11 | 7/8/24 | 533 | | PFPeA | | < MRL |
| 00008 | 0035008 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-11 | 7/8/24 | 533 | | PFPeS | | < MRL |
| 00008 | 0035008 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-11 | 7/8/24 | 533 | | PFUnA | | < MRL |
| 00008 | 0035008 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-11 | 7/8/24 | 537.1 | | NEtFOSAA | | < MRL |
| 00008 | 0035008 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-11 | 7/8/24 | 537.1 | | NMeFOSAA | | < MRL |
| 00008 | 0035008 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-11 | 7/8/24 | 537.1 | | PFTA | | < MRL |
| Facility | Sample Point | Sampling Event | Lab | | Sample ID | Collection Date | Method | | Analyte | | Result µg/L |
| 00008 | 0035008 | SE2 | Microbac Laboratories, Inc. - Marietta | | M4F0678-11 | 7/8/24 | 537.1 | | PFTrDA | | < MRL |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Facility | Sample Point | Sampling Event | Lab | Sample ID | Collection Date | Method | Analyte | Result µg/L |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 00003 | 0035003 | SE2 | Microbac Laboratories, Inc. - Marietta | M4H1303-01 | 8/19/24 | 533 | [11Cl-PF3OUdS](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResultsFromSession?pws=FL1460035#analyteQCModal) | < MRL |
| 00003 | 0035003 | SE2 | Microbac Laboratories, Inc. - Marietta | M4H1303-01 | 8/19/24 | 533 | [4:2 FTS](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResultsFromSession?pws=FL1460035#analyteQCModal) | < MRL |
| 00003 | 0035003 | SE2 | Microbac Laboratories, Inc. - Marietta | M4H1303-01 | 8/19/24 | 533 | [6:2 FTS](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResultsFromSession?pws=FL1460035#analyteQCModal) | < MRL |
| 00003 | 0035003 | SE2 | Microbac Laboratories, Inc. - Marietta | M4H1303-01 | 8/19/24 | 533 | [8:2 FTS](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResultsFromSession?pws=FL1460035#analyteQCModal) | < MRL |
| 00003 | 0035003 | SE2 | Microbac Laboratories, Inc. - Marietta | M4H1303-01 | 8/19/24 | 533 | [9Cl-PF3ONS](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResultsFromSession?pws=FL1460035#analyteQCModal) | < MRL |
| 00003 | 0035003 | SE2 | Microbac Laboratories, Inc. - Marietta | M4H1303-01 | 8/19/24 | 533 | [ADONA](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResultsFromSession?pws=FL1460035#analyteQCModal) | < MRL |
| 00003 | 0035003 | SE2 | Microbac Laboratories, Inc. - Marietta | M4H1303-01 | 8/19/24 | 533 | [HFPO-DA](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResultsFromSession?pws=FL1460035#analyteQCModal) | < MRL |
| 00003 | 0035003 | SE2 | Microbac Laboratories, Inc. - Marietta | M4H1303-01 | 8/19/24 | 533 | [NFDHA](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResultsFromSession?pws=FL1460035#analyteQCModal) | < MRL |
| 00003 | 0035003 | SE2 | Microbac Laboratories, Inc. - Marietta | M4H1303-01 | 8/19/24 | 533 | [PFBA](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResultsFromSession?pws=FL1460035#analyteQCModal) | < MRL |
| 00003 | 0035003 | SE2 | Microbac Laboratories, Inc. - Marietta | M4H1303-01 | 8/19/24 | 533 | [PFBS](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResultsFromSession?pws=FL1460035#analyteQCModal) | < MRL |
| 00003 | 0035003 | SE2 | Microbac Laboratories, Inc. - Marietta | M4H1303-01 | 8/19/24 | 533 | [PFDA](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResultsFromSession?pws=FL1460035#analyteQCModal) | < MRL |
| 00003 | 0035003 | SE2 | Microbac Laboratories, Inc. - Marietta | M4H1303-01 | 8/19/24 | 533 | [PFDoA](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResultsFromSession?pws=FL1460035#analyteQCModal) | < MRL |
| 00003 | 0035003 | SE2 | Microbac Laboratories, Inc. - Marietta | M4H1303-01 | 8/19/24 | 533 | [PFEESA](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResultsFromSession?pws=FL1460035#analyteQCModal) | < MRL |
| 00003 | 0035003 | SE2 | Microbac Laboratories, Inc. - Marietta | M4H1303-01 | 8/19/24 | 533 | [PFHpA](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResultsFromSession?pws=FL1460035#analyteQCModal) | < MRL |
| 00003 | 0035003 | SE2 | Microbac Laboratories, Inc. - Marietta | M4H1303-01 | 8/19/24 | 533 | [PFHpS](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResultsFromSession?pws=FL1460035#analyteQCModal) | < MRL |
| 00003 | 0035003 | SE2 | Microbac Laboratories, Inc. - Marietta | M4H1303-01 | 8/19/24 | 533 | [PFHxA](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResultsFromSession?pws=FL1460035#analyteQCModal) | < MRL |
| 00003 | 0035003 | SE2 | Microbac Laboratories, Inc. - Marietta | M4H1303-01 | 8/19/24 | 533 | [PFHxS](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResultsFromSession?pws=FL1460035#analyteQCModal) | < MRL |
| 00003 | 0035003 | SE2 | Microbac Laboratories, Inc. - Marietta | M4H1303-01 | 8/19/24 | 533 | [PFMBA](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResultsFromSession?pws=FL1460035#analyteQCModal) | < MRL |
| 00003 | 0035003 | SE2 | Microbac Laboratories, Inc. - Marietta | M4H1303-01 | 8/19/24 | 533 | [PFMPA](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResultsFromSession?pws=FL1460035#analyteQCModal) | < MRL |
| 00003 | 0035003 | SE2 | Microbac Laboratories, Inc. - Marietta | M4H1303-01 | 8/19/24 | 533 | [PFNA](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResultsFromSession?pws=FL1460035#analyteQCModal) | < MRL |
| 00003 | 0035003 | SE2 | Microbac Laboratories, Inc. - Marietta | M4H1303-01 | 8/19/24 | 533 | [PFOA](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResultsFromSession?pws=FL1460035#analyteQCModal) | < MRL |
| 00003 | 0035003 | SE2 | Microbac Laboratories, Inc. - Marietta | M4H1303-01 | 8/19/24 | 533 | [PFOS](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResultsFromSession?pws=FL1460035#analyteQCModal) | < MRL |
| 00003 | 0035003 | SE2 | Microbac Laboratories, Inc. - Marietta | M4H1303-01 | 8/19/24 | 533 | [PFPeA](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResultsFromSession?pws=FL1460035#analyteQCModal) | < MRL |
| 00003 | 0035003 | SE2 | Microbac Laboratories, Inc. - Marietta | M4H1303-01 | 8/19/24 | 533 | [PFPeS](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResultsFromSession?pws=FL1460035#analyteQCModal) | < MRL |
| 00003 | 0035003 | SE2 | Microbac Laboratories, Inc. - Marietta | M4H1303-01 | 8/19/24 | 533 | [PFUnA](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResultsFromSession?pws=FL1460035#analyteQCModal) | < MRL |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Facility | Sample Point | Sampling Event | Lab | Sample ID | Collection Date | Method | Analyte | Result (µg/L) |
|  |  |  |  |  |  |  |  |  |
| 00002 | 0035002 | SE2 | Microbac Laboratories, Inc. - Marietta | M5B0191-01 | 3/3/25 | 200.7 | [lithium](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResults#analyteQCModal) | < MRL |
| 00002 | 0035002 | SE2 | Microbac Laboratories, Inc. - Marietta | M5B0191-01 | 3/3/25 | 533 | [11Cl-PF3OUdS](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResults#analyteQCModal) | < MRL |
| 00002 | 0035002 | SE2 | Microbac Laboratories, Inc. - Marietta | M5B0191-01 | 3/3/25 | 533 | [4:2 FTS](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResults#analyteQCModal) | < MRL |
| 00002 | 0035002 | SE2 | Microbac Laboratories, Inc. - Marietta | M5B0191-01 | 3/3/25 | 533 | [6:2 FTS](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResults#analyteQCModal) | < MRL |
| 00002 | 0035002 | SE2 | Microbac Laboratories, Inc. - Marietta | M5B0191-01 | 3/3/25 | 533 | [8:2 FTS](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResults#analyteQCModal) | < MRL |
| 00002 | 0035002 | SE2 | Microbac Laboratories, Inc. - Marietta | M5B0191-01 | 3/3/25 | 533 | [9Cl-PF3ONS](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResults#analyteQCModal) | < MRL |
| 00002 | 0035002 | SE2 | Microbac Laboratories, Inc. - Marietta | M5B0191-01 | 3/3/25 | 533 | [ADONA](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResults#analyteQCModal) | < MRL |
| 00002 | 0035002 | SE2 | Microbac Laboratories, Inc. - Marietta | M5B0191-01 | 3/3/25 | 533 | [HFPO-DA](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResults#analyteQCModal) | < MRL |
| 00002 | 0035002 | SE2 | Microbac Laboratories, Inc. - Marietta | M5B0191-01 | 3/3/25 | 533 | [NFDHA](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResults#analyteQCModal) | < MRL |
| 00002 | 0035002 | SE2 | Microbac Laboratories, Inc. - Marietta | M5B0191-01 | 3/3/25 | 533 | [PFBA](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResults#analyteQCModal) | < MRL |
| 00002 | 0035002 | SE2 | Microbac Laboratories, Inc. - Marietta | M5B0191-01 | 3/3/25 | 533 | [PFBS](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResults#analyteQCModal) | < MRL |
| 00002 | 0035002 | SE2 | Microbac Laboratories, Inc. - Marietta | M5B0191-01 | 3/3/25 | 533 | [PFDA](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResults#analyteQCModal) | < MRL |
| 00002 | 0035002 | SE2 | Microbac Laboratories, Inc. - Marietta | M5B0191-01 | 3/3/25 | 533 | [PFDoA](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResults#analyteQCModal) | < MRL |
| 00002 | 0035002 | SE2 | Microbac Laboratories, Inc. - Marietta | M5B0191-01 | 3/3/25 | 533 | [PFEESA](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResults#analyteQCModal) | < MRL |
| 00002 | 0035002 | SE2 | Microbac Laboratories, Inc. - Marietta | M5B0191-01 | 3/3/25 | 533 | [PFHpA](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResults#analyteQCModal) | < MRL |
| 00002 | 0035002 | SE2 | Microbac Laboratories, Inc. - Marietta | M5B0191-01 | 3/3/25 | 533 | [PFHpS](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResults#analyteQCModal) | < MRL |
| 00002 | 0035002 | SE2 | Microbac Laboratories, Inc. - Marietta | M5B0191-01 | 3/3/25 | 533 | [PFHxA](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResults#analyteQCModal) | < MRL |
| 00002 | 0035002 | SE2 | Microbac Laboratories, Inc. - Marietta | M5B0191-01 | 3/3/25 | 533 | [PFHxS](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResults#analyteQCModal) | < MRL |
| 00002 | 0035002 | SE2 | Microbac Laboratories, Inc. - Marietta | M5B0191-01 | 3/3/25 | 533 | [PFMBA](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResults#analyteQCModal) | < MRL |
| 00002 | 0035002 | SE2 | Microbac Laboratories, Inc. - Marietta | M5B0191-01 | 3/3/25 | 533 | [PFMPA](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResults#analyteQCModal) | < MRL |
| 00002 | 0035002 | SE2 | Microbac Laboratories, Inc. - Marietta | M5B0191-01 | 3/3/25 | 533 | [PFNA](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResults#analyteQCModal) | < MRL |
| 00002 | 0035002 | SE2 | Microbac Laboratories, Inc. - Marietta | M5B0191-01 | 3/3/25 | 533 | [PFOA](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResults#analyteQCModal) | < MRL |
| 00002 | 0035002 | SE2 | Microbac Laboratories, Inc. - Marietta | M5B0191-01 | 3/3/25 | 533 | [PFOS](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResults#analyteQCModal) | < MRL |
| 00002 | 0035002 | SE2 | Microbac Laboratories, Inc. - Marietta | M5B0191-01 | 3/3/25 | 533 | [PFPeA](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResults#analyteQCModal) | < MRL |
| 00002 | 0035002 | SE2 | Microbac Laboratories, Inc. - Marietta | M5B0191-01 | 3/3/25 | 533 | [PFPeS](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResults#analyteQCModal) | < MRL |
| 00002 | 0035002 | SE2 | Microbac Laboratories, Inc. - Marietta | M5B0191-01 | 3/3/25 | 533 | [PFUnA](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResults#analyteQCModal) | < MRL |
| 00002 | 0035002 | SE2 | Microbac Laboratories, Inc. - Marietta | M5B0191-01 | 3/3/25 | 537.1 | [NEtFOSAA](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResults#analyteQCModal) | < MRL |
| 00002 | 0035002 | SE2 | Microbac Laboratories, Inc. - Marietta | M5B0191-01 | 3/3/25 | 537.1 | [NMeFOSAA](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResults#analyteQCModal) | < MRL |
| 00002 | 0035002 | SE2 | Microbac Laboratories, Inc. - Marietta | M5B0191-01 | 3/3/25 | 537.1 | [PFTA](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResults#analyteQCModal) | < MRL |
| 00002 | 0035002 | SE2 | Microbac Laboratories, Inc. - Marietta | M5B0191-01 | 3/3/25 | 537.1 | [PFTrDA](https://cdx.epa.gov/UCMR5/PWS/AnalyticSearchResults#analyteQCModal) | < MRL |